SPILL PREVENTION, CONTROL AND COUNTERMEASURE

QUICK REFERENCE GUIDE

CONTINGENCY MEASURES FOR

RELEASE OF OIL

UNIVERSITY OF HOUSTON – CLEAR LAKE

2700 BAY AREA BLVD

HOUSTON, TEXAS  77058

March 2019

40 CFR 112.7(a)(3)(iv) – Address Countermeasures for discharge discovery, response, and cleanup (both the facility's capability and those that might be required of a contractor);

40 CFR 112.7(a)(3)(v) – Address methods of disposal of recovered materials in accordance with applicable legal requirements;

40 CFR 112.7(a)(3)(vi) – Provide contact list and phone numbers for the facility response coordinator, National Response Center, cleanup contractors with whom you have an agreement for response, and all appropriate Federal, State, and local agencies who must be contacted in case of a discharge as described in 40 CFR 112.1(b).

40 CFR 112.7(a)(5) – Organize portions of the Plan describing procedures you will use when a discharge occurs in a way that will make them readily usable in an emergency, and include appropriate supporting material.

This Quick Reference Guide (QRG) provides the steps the University of Houston - Clear Lake (UHCL) personnel take in the event of a release of oil at the UHCL campus.  Persons should refer to the campus Spill Prevention Control and Countermeasure Plan for specific information regarding oils stored, oil volumes, and spill prevention measures.

QRG-2

CAMPUS CONTACTS

Environmental, Health and Safety (EHS) Contacts

In the event of any release of oil, the person who notices the spill must immediately notify the Director of Emergency Management and Fire Safety, the designated person responsible for spill control (or his backup/alternate):

| Al Black, Director of Emergency Management and Fire Safety (Primary contact) | UHCL phone: 281-283-2110 Cell (24-hr contact): 346-208-6519 |
| --- | --- |
| Niki Pearce, EHS Coordinator (Alternate contact) | UHCL phone: 281-283-2109 Cell (24-hr contact): 713-922-1178 |
| Lisa Coen, EHS Coordinator (Alternate contact) | UHCL phone: 281-283-2107 Cell (24-hr contact): 832-260-6975 |
| Hank Grotewold, EHS Coordinator (Alternate contact) | UHCL phone: 281-283-2104 Cell (24-hr contact): 281-889-9146 |

The Director of Emergency Management and Fire Safety along with the Environmental, Health and Safety (EHS) Coordinators act as a technical resource to the Director of Facilities Management and Construction (FMC) and FMC personnel during response actions, and are responsible for determining if the UCHL personnel are capable of responding to the release, conducting the actual response, determining if the release requires reporting to any required Federal, State or Local government agency, and making such reports.

Facilities Management and Construction (FMC) Contacts

FMC is responsible for maintaining all oil storage facilities, generators, elevators, and transformers, or the contracts associated with them.  The Associate Vice President (AVP) of FMC will be notified for all releases, along with the FMC personnel responsible for the respective equipment where the release occurred.

| Eric Herrera, AVP of FMC | UHCL phone: 281-283-2250 Cell (24-hr contact): 832-455-5743 |
| --- | --- |

Municipal Wastewater Treatment Contact

In the event of a release of oil to the facility’s sanitary drains that discharge to the local publicly owned treatment facilities, the EHS Department will contact the treatment facility.

| Clear Lake Water Authority 900 Bay Area Blvd Houston, TX 77058 | Phone (24-hr): 281-488-1164 Fax: 281-488-3400 |
| --- | --- |

QRG-3

Regulatory Agency Immediate Notification Requirements

Agency Contacts and Reportable Quantities [40 CFR 112.7(a)(3)]

In the event of a release of a hazardous material, immediate notification to local, state, and federal agencies are required under certain circumstances.

| AGENCY | PHONE NUMBER | WHEN |
| --- | --- | --- |
| OIL RELEASED ABOVE REPORTABLE QUANTITIES (RQ): |  |  |
| To satisfy Texas requirements, one of the following: |  |  |
| TCEQ Spill Reporting (24-Hour) | 800-832-8224 | Upon the determination that a RQ spill has occurred, notify TCEQ as soon as possible but not later than 24 hours after discovery. |
| TCEQ Region 12 Office | 713-767-3500 (Houston) |  |
| State Emergency Response Center (SERC) | 800-832-8224 |  |
| To satisfy National/Federal Requirements for RQ release of Oil: |  |  |
| National Response Center | 800-424-8802 | Upon the determination that a RQ spill to water has occurred, notify NRC as soon as possible but not later than 24 hours after discovery. |
| RELEASES CREATING AN IMMINENT THREAT, FIRE, AND HAZARDOUS MATERIALS: |  |  |
| Fire Department | 911 | If the discharge or spill creates an imminent health threat, immediately notify and cooperate with local emergency authorities |
| Police Department | 911 |  |
| Southeast Regional LEPC | 911 713-475-4996 |  |
| OTHER LOCAL REQUIRED RELEASE NOTIFICATION |  |  |
| Harris County Pollution Control Services, Emergency Response Services Section Harris County Pollution Control Service Department | 713-920-2831 (24-hr spill phone) 713-274-6356 (non-emergencies) 713-274-6300 (main) 713-274-6475 (fax) | All oil discharges or spills |
| City of Houston Water Quality Control – Bureau of Public Health Engineering (BPHE) | 713-920-2831 (HCPHES, see above) | All oil discharges or spills to the storm sewer from the Arbor or Delta Buildings |
| (continued on next page) |  |  |
| OTHER LOCAL REQUIRED RELEASE NOTIFICATION (continued) |  |  |
| City of Pasadena Office of Emergency Management | 911 713-475-7800 (24-hr dispatcher) 713-475-5588 (main) | All oil discharges or spills to the storm sewer from the Bayou/SSCB/FMC/NOA Buildings |
| Clear Lake Water Authority | 281-488-1164 (24 –hr) | All oil discharges or spills to the sanitary sewer system |

Determining Reportable Quantities:

TCEQ and NRC Spill Notification

Oil Spills onto Land:

- 25 gallons or more of used oil or petroleum products,

- 210 gallons or more of crude oil, unused (new) oil, or oil that is not a petroleum product

Oil Spills into Waters of the State or Navigable Waters of the U.S.:

- Discharges that cause a sheen or discoloration on the surface of a body of water;

- Discharges that violate applicable water quality standards; and

- Discharges that cause a sludge or emulsion to be deposited beneath the surface of the water or on adjoining shorelines.

QRG-4 provides a list of the information to report to State and Federal agencies.

QRG-4

State and Federal Regulatory Agency Spill Reporting Information Requirements 
[40 CFR 112.7(a)(4) and 30 TAC 327]

In the event a release is required to be reported, copy this page, and be prepared to provide agency the following information:

- Address/location of the facility:    2700 Bay Area Blvd, Houston, Texas 77058

- Phone number of the facility:

- Date and time of the discharge:

- Type of material discharged:

- Estimates of the total quantity discharged:

- Estimates of the quantity discharged to navigable waters or adjoining shorelines:

- The source of the discharge:

- Description of all affected media:

- Cause of the discharge:

- Any damages or injuries caused by the discharge:

- Actions being used to stop, remove, and mitigate the effects of the discharge:

- Whether an evacuation is needed:

- Names of individuals and/or organizations who have also been contacted:

- A description of the extent of actual or potential water pollution or harmful impacts to the environment and an identification of any environmentally sensitive areas or natural resources at risk:

- Any known or anticipated health risks:

IMPORTANT:

Record the information you provided to the agency in the blanks, above.  Use more pages if necessary.

Also record the following:

Agency Contacted: _____________________________	Case No: ________________________________

Any additional information: __________________________________________________________________

QRG-5

CAMPUS CLEANUP CONTRACTORS [40 CFR 112.7(a)(3)]

In the event UHCL determines that an oil release exceeds UHCL’s resources for cleanup, the following cleanup organizations will be contacted as appropriate:

| Contractor Name: | Veolia North America |
| --- | --- |
| Phone Number: | 281-427-4099 (non-emergency) 281-739-0514 (Danny Bragg) |
| Addresses: | 1800 S Hwy 146 Baytown, TX 77520 |
| Contractor Resources: | Trained response personnel Containment materials Absorbent materials Drums/Totes/rolloff and vacuum boxes, vacuum trucks Vehicles for hauling contaminated material |
| Contractor Name: | Garner Environmental Services |
| Phone Number: | 800-424-1716 |
| Addresses: | 1717 W. 13th Street Deer Park, TX, 77536 |
| Contractor Resources: | Trained response personnel Containment materials Absorbent materials Drums/Totes Vehicles for hauling contaminated material A full listing of Garner resources is available on their website: http://garner-es.com |
| Contractor Name: | Allied International Emergency, LLC |
| Phone Number: | 817-595-0100 (24-hr) or 800-980-7911 (24-hr)) 817-595-0125 (fax) |
| Addresses: | 2416 Gravel Drive Fort Worth, TX 76118 |
| Contractor Resources: | Trained response personnel Containment materials Absorbent materials Drums/Totes Vehicles for hauling contaminated material |
| Contractor Name: | Eagle Construction & Environmental Services, LP |
| Phone Number: | 800-336-0909 (24-hr) 281-867-9131 (non-emergency) |
| Addresses: | 1700 North E Street La Porte, TX 77571 |
| Contractor Resources: | Trained response personnel Containment materials Absorbent materials Drums/Totes Vehicles for hauling contaminated material |

The 24-hour Spill Reporting line is supported by several Texas agencies and is answered 24 hours a day.  It serves as the TCEQ spill reporting line during the day and the State Emergency Response Commission (SERC) line at night.

The NRC is the sole federal point of contact for reporting all spills to water, or releases of hazardous materials exceeding their reportable quantity.

Petroleum product – In Texas, a petroleum product is defined as a petroleum substance obtained from distilling and processing crude oil that is liquid at standard conditions of temperature and pressure, and that is capable of being used as a fuel for the propulsion of a motor vehicle or aircraft, including but not necessarily limited to motor gasoline, gasohol, other alcohol blended fuels, aviation gasoline, kerosene, distillate fuel oil, and #1 and #2 diesel.  The term does not include naphtha-type jet fuel, kerosene-type jet fuel, or a petroleum product destined for use in chemical manufacturing or feedstock of that manufacturing.  30 TAC 327.2